# Interior design site survey checklist

Blank editable template

OpenLintel • Educational planning resource • September 15, 2026

Illustrative teaching extension of The Window Room; not a client record, supplier quote, site survey, or construction-ready document. Pending professional review.

# How to use

Prepare the sheet before a visit and follow site access and safety arrangements. Record visible conditions without opening concealed assemblies or diagnosing services. Use suitable professionals for specialist surveys and any safety or compliance assessment. Label each source as measured, provided, observed, or unresolved; preserve access limitations with the record.

- Prepare a room reference and rough sketch before the visit.

- Record dimensions and photo references as you work, including inaccessible areas.

- Check completeness and list discrepancies before leaving; arrange any necessary specialist follow-up.

# Review before use

- Do not treat a photo as a scaled measurement.

- Do not assume concealed services from visible fittings.

- Do not omit access limitations from the resulting record.

Replace illustrative information with verified project records. No approval, legal agreement, or construction readiness is represented. Keep completed client documents in your own secure system.

# Your project

## Visit and room reference

Record date, surveyor, access limitations, instruments, and room identifier.

[Enter your project information here. Leave unknowns explicit.]

## Room geometry

Record each wall run, overall checks, diagonals where practical, and measurement units. Mark missing measurements.

[Enter your project information here. Leave unknowns explicit.]

## Openings

Locate each opening relative to an identified corner and record relevant sizes, heights, and swing or operation.

[Enter your project information here. Leave unknowns explicit.]

## Existing finishes and retained objects

Photograph condition and record dimensions of objects that must remain.

[Enter your project information here. Leave unknowns explicit.]

## Visible services and obstructions

Locate visible devices and access panels without claiming concealed routes or suitability.

[Enter your project information here. Leave unknowns explicit.]

## Photograph register

Give each image a reference, room, direction, and note. Obtain permission before photographing occupied spaces.

[Enter your project information here. Leave unknowns explicit.]

## Checks and discrepancies

Record differences between provided plans and observations without silently averaging conflicting measurements.

[Enter your project information here. Leave unknowns explicit.]

## Follow-up actions

Record missing information, its owner, and when it must be resolved.

[Enter your project information here. Leave unknowns explicit.]